## H&S Walk-Round
UK Care World — Health & Safety Walk-Round Checklist
A room-by-room walk-round for routine premises and equipment safety checks. Complete the Status column for every item.
Location/Area:
Checked by:
Date:
Ref | Check Item | Status (OK / Action) | Comments / Action Required
COMMUNAL AREAS & CORRIDORS
1 | Floors clear of trip hazards, spills, and clutter | OK | Example: checked 10:15am, no issues.
2 | Handrails secure along corridors and stairways
3 | Adequate lighting throughout, no broken fittings
4 | Fire doors close fully and are not wedged open
5 | Escape routes and exits clearly signed and unobstructed
BEDROOMS & PERSONAL CARE AREAS
6 | Call bells present, working, and within reach
7 | Bed rails (where used) fitted and functioning correctly
8 | Hoists and slings within service date, no visible damage
9 | Flooring free of trip hazards and slip risk
10 | Window restrictors fitted and functioning where required
KITCHEN & FOOD PREPARATION
11 | Fridge/freezer temperatures checked and logged
12 | Food storage dates checked, no expired stock
13 | Cleaning chemicals stored securely, away from food
14 | Fire blanket and extinguisher present and accessible
MEDICATION & CLINICAL AREAS
15 | Medication storage locked when unattended
16 | Sharps bins present, in date, and not overfilled
17 | Clinical waste stored and disposed of correctly
EQUIPMENT & MAINTENANCE
18 | Portable appliance testing (PAT) up to date
19 | Moving and handling equipment serviced within last 6 months
20 | Fire extinguishers serviced and in date
21 | Legionella / water safety checks up to date
EXTERNAL AREAS
22 | Pathways and entrances free of trip hazards
23 | External lighting functioning
24 | Bins stored securely and not blocking exits
SUMMARY
Items needing action: |  | 0